## FOI Electrical
FOI Request No: 3324
1. The estimated total annual spend on electrical materials for Estates and Facilities. E.g Lamps, HVAC, Cable, Batteries etc:
2. Provide the Top 10 lines used:
Electrical Materials APRROX COSTS SEP 13 TO SEP 14 WITHIN THE REVENUE BUDGET
However, high value costs will be within Capital Schemes, usually carried out by External Contractors - see Q4 |  |  | Solihull site | Heartlands site | Good Hope site | TOTAL
| £ per item | No. | approx costs | based on Sol figs | based on Sol figs
Flourescent Tubes | 2.4 | 1000 | 2400 | 6000 | 4320 | 12720
Theatre Op Lamps | 37.8 | 50 | 1890 | 4725 | 3402 | 10017
Electronic Ballast | 17 | 100 | 1700 | 4250 | 3060 | 9010
Smoke/ Heat Detectors | 33.5 | 50 | 1675 | 4187.5 | 3015 | 8877.5
Electronic Starters | 4.2 | 300 | 1260 | 3150 | 2268 | 6678
Double Socket Outlets - Red | 8.8 | 125 | 1100 | 2750 | 1980 | 5830
Double Socket Outlets - White | 4.15 | 125 | 518.75 | 1296.875 | 933.75 | 2749.375
Heavy Duty Plug Top | 5.5 | 60 | 330 | 825 | 594 | 1749
Fuses | 2.5 | 100 | 250 | 625 | 450 | 1325
Batteries | 1.3 | 400 | 520 | 1300 | 936 | 2756
|  |  | 11643.75 | 29109.375 | 20958.75 | 61711.875
3. Detail any potential energy efficiency project you are considering if possible:
1. Good hope CHP Scheme came on line at the end of June 2014 and is now fully operational. The scheme has guarranteed savings of £558k per annum. Electric is exported at periods of low demand i.e.during night time and weekends to date the scheme has exported 220 MWh with an income of £7,726. Electric is generated at 415V transformed up to 11kV and fed into Good Hope HV electrical system. The heat form the engine is distributed in to the heating and hot water system to reduce energy consumption.
2. Sustainability development Phase I is complete and phase II is now underway. The Monitoring and valuation plan has still to be agreed however phase I is complete the project is projected to save in the order of £600k per annum and 3,808 tonnes of Carbon each year. Phase I schemes included insulation to heating systems in plant rooms, Lighting upgrades to high efficiency lighting, Variable Speed Drives to motors reducing electric consumption and additional metering. Solar PV was installed at Solihull and Heartlands Hospitals.
4. Detail any major new electrical work you are considering including new building projects:
The Trust has a reasonably healthy strategic building capital investment programme, with current stated limits of circa £10m per annum. We are currently working on the feasibility and design stages of a number of projects, with three of them due to start on site over the course of the next few months.
The list of schemes include (but are not limited to): A new Hybrid Theatre; A Dematology refurbishment; an Oncology/Rheumatology refurbishment; Deck Car Park and road re-alignment; Maternity Extension and re-configuration – the first three being the ones due to start on site shortly. However, no scheme is a certainty and hence the list of proposed schemes is always subject to change.
All major schemes will involve an element of electrical work within the contractor’s overall scope of works and hence price. The exact details and prices however will be wrapped up in the overall contract design and tender pricing. At this stage, with the majority of schemes not being fully designed, specific details are simply not available and/or potentially unreliable.
Further, there are current 'Inhouse' smaller Capital Schemes relating to:
Main Theatre extract fan upgrades
Replacement LV switch panel
Fire Alarm system upgrade
Replacement of HV Transformers No. 1&2 with super low loss transformers
Lift No. 1 Upgrade