## Sheet1
Site Location (Hospital Name) | Manufacturer Name | Model Name | Purchased/Leased/MES | Age of Equipment | Current Service Provider | Current Service Contract |  |  |  | Planned replacement date
[6 empty] | End date | Preventative Maintenance | Fully Comprehensive | Service Cost
Queen Elizabeth Hospital Birmingham | Siemens Healthcare | SOMATOM DEFINITION AS+ 64 SLICE | Purchased | 3 | Siemens Healthcare | 2024-03-01 | No | yes | See note below | 2024
Queen Elizabeth Hospital Birmingham | Siemens Healthcare | SOMATOM DEFINITION AS 64 SLICE | Purchased | 10 | Siemens Healthcare | 2021-03-01 | No | yes | See note below | 2020
Queen Elizabeth Hospital Birmingham | Siemens Healthcare | SOMATOM DEFINITION AS 64 SLICE | Purchased | 10 | Siemens Healthcare | 2021-03-01 | No | yes | See note below | 2020
Queen Elizabeth Hospital Birmingham | Siemens Healthcare | SOMATOM DEFINITION DUAL SOURCE | Purchased | 10 | Siemens Healthcare | 2021-03-01 | No | yes | See note below | 2020
Queen Elizabeth Hospital Birmingham | Siemens Healthcare | SOMATOM DEFINITION AS 64 SLICE | Purchased | 10 | Siemens Healthcare | 2021-03-01 | No | yes | See note below | 2020
Queen Elizabeth Hospital Birmingham | GE Healthcare | GE LUNAR IDXA | Purchased | 10 | GE Healthcare | 2022-03-01 | No | yes | See note below | 2020
Queen Elizabeth Hospital Birmingham | Phillips | PHILIPS ORTHORALIX 9200 PPE PLUS | Purchased | 16 | Phillips | 2022-03-01 | yes | no | See note below | 2019
Queen Elizabeth Hospital Birmingham | Phillips | PHILIPS ORTHORALIX PLUS CEPH | Purchased | 14 | Phillips | 2022-03-01 | yes | no | See note below | 2019
Queen Elizabeth Hospital Birmingham | Phillips | PHILIPS MD ELEVA FD | Purchased | 10 | Phillips | 2022-03-01 | No | yes | See note below | 2020
Queen Elizabeth Hospital Birmingham | Phillips | PHILIPS MD ELEVA | Purchased | 10 | Phillips | 2022-03-01 | No | yes | See note below | 2020
Queen Elizabeth Hospital Birmingham | Phillips | PHILIPS MD ELEVA FD | Purchased | 16 | Phillips | 2022-03-01 | No | yes | See note below | 2020
Queen Elizabeth Hospital Birmingham | Phillips | PHILIPS EASY DIAGNOST ELEVA | Purchased | 14 | Phillips | 2022-03-01 | No | yes | See note below | 2021
Queen Elizabeth Hospital Birmingham | Phillips | PHILIPS MD ELEVA FD | Purchased | 10 | Phillips | 2022-03-01 | No | yes | See note below | 2020
Queen Elizabeth Hospital Birmingham | Siemens | SIEMENS AVANTO FIT | Purchased | 5 | Siemens | 2022-03-01 | No | yes | See note below | 2022
Queen Elizabeth Hospital Birmingham | Siemens | SIEMENS MAGNETOM ESPREE | Purchased | 10 | Siemens | 2022-03-01 | No | yes | See note below | 2019
Queen Elizabeth Hospital Birmingham | Siemens | SIEMENS MAGNETOM VERIO | Purchased | 10 | Siemens | 2022-03-01 | No | yes | See note below | 2020
Queen Elizabeth Hospital Birmingham | Siemens Healthcare | SIEMENS MAGNETOM AVANTO | Purchased | 10 | Siemens Healthcare | 2021-03-01 | No | yes | See note below | 2021
Queen Elizabeth Hospital Birmingham | GE Healthcare | GE SIGNA EXCITE | Purchased | 14 | GE Healthcare | 2022-03-01 | No | yes | See note below | 2018
Queen Elizabeth Hospital Birmingham | Siemens Healthcare | SIEMENS MAGNETOM AVANTO | Purchased | 10 | Siemens Healthcare | 2021-03-01 | No | yes | See note below | 2021
Queen Elizabeth Hospital Birmingham | Siemens Healthcare | SIEMENS SYMBIA 16 | Purchased | 10 | Siemens Healthcare | 2021-03-01 | No | yes | See note below | 2019
Queen Elizabeth Hospital Birmingham | Siemens Healthcare | SYMBIA S - SERIES | Purchased | 10 | Siemens Healthcare | 2021-03-01 | No | yes | See note below | 2020
Queen Elizabeth Hospital Birmingham | Siemens Healthcare | SIEMENS SYMBIA T | Purchased | 10 | Siemens Healthcare | 2021-03-01 | No | yes | See note below | 2021
Queen Elizabeth Hospital Birmingham | Siemens Healthcare | SIEMENS | Purchased | 4 | Siemens Healthcare | 2023-03-01 | No | yes | See note below | 2023
Queen Elizabeth Hospital Birmingham | Phillips | PHILIPS ALLURA XPER FD 20 | Purchased | 10 | Phillips | 2022-03-01 | No | yes | See note below | 2019
Queen Elizabeth Hospital Birmingham | Phillips | PHILIPS ALLURA XPER FD 20 | Purchased | 10 | Phillips | 2022-03-01 | No | yes | See note below | 2020
Queen Elizabeth Hospital Birmingham | Phillips | PHILIPS ALLURA XPER FD 20 | Purchased | 10 | Phillips | 2022-03-01 | No | yes | See note below | 2021
Queen Elizabeth Hospital Birmingham | Phillips | PHILIPS ALLURA XPER FD 20 | Purchased | 10 | Phillips | 2022-03-01 | No | yes | See note below | 2021
Queen Elizabeth Hospital Birmingham | Siemens Healthcare | SIEMENS AXIOM ARTIS DBA | Purchased | 13 | Siemens Healthcare | 2019-03-01 | No | yes | See note below | 2018
Queen Elizabeth Hospital Birmingham | Carestream Health | CARESTREAM DR 7500 | Purchased | 10 | Carestream Health | 2021-03-01 | No | yes | See note below | 2020
Queen Elizabeth Hospital Birmingham | Carestream Health | CARESTREAM DRX EVOLUTION | Purchased | 10 | Carestream Health | 2021-03-01 | No | yes | See note below | 2021
Queen Elizabeth Hospital Birmingham | Carestream Health | CARESTREAM DR 7500 | Purchased | 10 | Carestream Health | 2021-03-01 | No | yes | See note below | 2020
Queen Elizabeth Hospital Birmingham | Phillips | PHILIPS DIGITAL DIAGNOST DUAL DETECTOR | Purchased | 10 | Phillips | 2022-03-01 | No | yes | See note below | 2022
Queen Elizabeth Hospital Birmingham | Carestream Health | CARESTREAM DR 7500 | Purchased | 10 | Carestream Health | 2021-03-01 | No | yes | See note below | 2020
Queen Elizabeth Hospital Birmingham | Carestream Health | CARESTREAM DRX EVOLUTION | Purchased | 9 | Carestream Health | 2021-03-01 | No | yes | See note below | 2018
Queen Elizabeth Hospital Birmingham | Carestream Health | CARESTREAM DRX EVOLUTION | Purchased | 9 | Carestream Health | 2021-03-01 | No | yes | See note below | 2018
Queen Elizabeth Hospital Birmingham | Phillips | PHILIPS DIGITAL DIAGNOST | Purchased | 9 | Phillips | 2022-03-01 | No | yes | See note below | 2018
Queen Elizabeth Hospital Birmingham | Carestream Health | CARESTREAM DRX EVOLUTION | Purchased | 10 | Carestream Health | 2021-03-01 | No | yes | See note below | 2017
Queen Elizabeth Hospital Birmingham | Carestream Health | CARESTREAM DRX EVOLUTION | Purchased | 10 | Carestream Health | 2021-03-01 | No | yes | See note below | 2017
Queen Elizabeth Hospital Birmingham | Carestream Health | CARESTREAM DRX EVOLUTION | Purchased | 10 | Carestream Health | 2021-03-01 | No | yes | See note below | 2017
Queen Elizabeth Hospital Birmingham | Hitachi Medical Systems Europe | HITACHI DIGITAL | Purchased | 6 | Hitachi Medical Systems Europe | 2019-03-01 | No | yes | See note below | 2019
Queen Elizabeth Hospital Birmingham | Hitachi Medical Systems Europe | HITACHI DIGITAL WHOLE BODY US HIGH RESOLUTUION | Purchased | 10 | Hitachi Medical Systems Europe | 2019-03-01 | No | yes | See note below | 2018
Queen Elizabeth Hospital Birmingham | Hitachi Medical Systems Europe | Hitachi HI VISION ASCENDUS-S E | Purchased | 4 | Hitachi Medical Systems Europe | 2019-03-01 | No | yes | See note below | 2021
Queen Elizabeth Hospital Birmingham | Phillips | PHILIPS IU22 | Purchased | 10 | MIUS | 2019-03-01 | No | yes | See note below | 2019
Queen Elizabeth Hospital Birmingham | Hitachi Medical Systems Europe | HITACHI DIGITAL WHOLE BODY US HIGH RESOLUTUION | Purchased | 10 | Hitachi Medical Systems Europe | 2019-03-01 | No | yes | See note below | 2018
Queen Elizabeth Hospital Birmingham | Hitachi Medical Systems Europe | HIGH DIGITIAL WHOLE BODY US HIGH RESOLUTION | Purchased | 10 | Hitachi Medical Systems Europe | 2019-03-01 | No | yes | See note below | 2019
Queen Elizabeth Hospital Birmingham | Phillips | PHILIPS IU22 | Purchased | 7 | MIUS | 2019-03-01 | No | yes | See note below | 2020
Queen Elizabeth Hospital Birmingham | Siemens Healthcare | Siemens | Purchased | 3 | Siemens Healthcare | 2023-03-01 | No | yes | See note below | 2022
Queen Elizabeth Hospital Birmingham | Phillips | PHILIPS IU22 | Purchased | 10 | MIUS | 2019-03-01 | No | yes | See note below | 2018
Queen Elizabeth Hospital Birmingham | Hitachi Medical Systems Europe | Hitachi Arietta 850 | Purchased | 3 | Hitachi Medical Systems Europe | 2019-03-01 | No | yes | See note below | 2022
Queen Elizabeth Hospital Birmingham | FUJIFILM SonoSite | SONOSIT X-PORTE | Purchased | 6 | FUJIFILM SonoSite | 2019-03-01 | No | yes | See note below | 2019
Queen Elizabeth Hospital Birmingham | FUJIFILM SonoSite | SONOSITE | Purchased | 12 | FUJIFILM SonoSite | 2019-03-01 | No | yes | See note below | 2019
Queen Elizabeth Hospital Birmingham | Phillips | PHILIPS CX50 | Purchased | 9 | Phillips | 2022-03-01 | No | yes | See note below | 2022
Queen Elizabeth Hospital Birmingham | Phillips | PHILIPS CX50 | Purchased | 9 | Phillips | 2022-03-01 | No | yes | See note below | 2021
Queen Elizabeth Hospital Birmingham | Phillips | PHILIPS CX50 | Purchased | 8 | Phillips | 2022-03-01 | No | yes | See note below | 2021
Queen Elizabeth Hospital Birmingham | GE Healthcare | GE 7900 FLOUROSTAR | Purchased | 10 | GE Healthcare | 2020-03-01 | No | yes | See note below | 2020
Queen Elizabeth Hospital Birmingham | GE Healthcare | GE OEC 7900 FLUOROSTAR | Purchased | 10 | GE Healthcare | 2020-03-01 | No | yes | See note below | 2020
Queen Elizabeth Hospital Birmingham | Vertec LTD | VERTEC FLUOROSCAN INSIGHT | Purchased | 12 | Vertec LTD | 2019-03-01 | No | yes | See note below | 2018
Queen Elizabeth Hospital Birmingham | GE Healthcare | GE OEC 7900 FLUOROSTAR (VASCULAR) | Purchased | 10 | GE Healthcare | 2020-03-01 | No | yes | See note below | 2020
Queen Elizabeth Hospital Birmingham | GE Healthcare | GE OEC 9900 Elite | Purchased | 6 | GE Healthcare | 2024-03-01 | No | yes | See note below | 2024
Queen Elizabeth Hospital Birmingham | Vertec LTD | VERTEC FLUOROSCAN INSIGHT | Purchased | 12 | Vertec LTD | 2019-03-01 | No | yes | See note below | 2018
Queen Elizabeth Hospital Birmingham | GE Healthcare | GE Brivo | Purchased | 3 | GE Healthcare | 2027-03-01 | No | yes | See note below | 2027
Queen Elizabeth Hospital Birmingham | GE Healthcare | GE Florostar 3 | Purchased | 6 | GE Healthcare | 2024-03-01 | No | yes | See note below | 2024
Queen Elizabeth Hospital Birmingham | GE Healthcare | GE 9900 | Purchased | 6 | GE Healthcare | 2024-03-01 | No | yes | See note below | 2024
Queen Elizabeth Hospital Birmingham | GE Healthcare | GE 9900 Elite VAS 8 | Purchased | 7 | GE Healthcare | 2023-03-01 | No | yes | See note below | 2023
Queen Elizabeth Hospital Birmingham | GE Healthcare | GE OEC 7900 FLUOROSTAR | Purchased | 10 | GE Healthcare | 2020-03-01 | No | yes | See note below | 2020
Queen Elizabeth Hospital Birmingham | Vertec LTD | VERTEC FLUOROSCAN INSIGHT | Purchased | 9 | Vertec LTD | 2019-03-01 | No | yes | See note below | 2021
Queen Elizabeth Hospital Birmingham | GE Healthcare | GE OEC 9900 ELITE | Purchased | 9 | GE Healthcare | 2022-03-01 | No | yes | See note below | 2021
Queen Elizabeth Hospital Birmingham | Siemens Healthcare | Siemens Arcadis | Purchased | 11 | Siemens Healthcare | 2019-03-01 | No | yes | See note below | 2019
Queen Elizabeth Hospital Birmingham | GE Healthcare | GE (AMX 4) | Purchased | 10 | GE Healthcare | 2020-03-01 | No | yes | See note below | 2020
Queen Elizabeth Hospital Birmingham | GE Healthcare | GE (AMX 4) PLUS CARESTREAM DRX | Purchased | 10 | GE Healthcare | 2022-03-01 | No | yes | See note below | 2020
Queen Elizabeth Hospital Birmingham | GE Healthcare | GE (AMX 4) | Purchased | 10 | GE Healthcare | 2020-03-01 | No | yes | See note below | 2020
Queen Elizabeth Hospital Birmingham | Carestream Health | Carestream Revolution | Purchased | 3 | Carestream Health | 2021-03-01 | No | yes | See note below | 2027
Queen Elizabeth Hospital Birmingham | GE Healthcare | GE (AMX 4) | Purchased | 10 | GE Healthcare | 2020-03-01 | No | yes | See note below | 2020
Queen Elizabeth Hospital Birmingham | Carestream Health | Carestream Revolution | Purchased | 3 | Carestream Health | 2021-03-01 | No | yes | See note below | 2027
Queen Elizabeth Hospital Birmingham | GE Healthcare | GE (AMX 4) | Purchased | 10 | GE Healthcare | 2020-03-01 | No | yes | See note below | 2020
Queen Elizabeth Hospital Birmingham | GE Healthcare | GE (AMX 4) | Purchased | 10 | GE Healthcare | 2022-03-01 | No | yes | See note below | 2020
Queen Elizabeth Hospital Birmingham | GE Healthcare | GE (AMX 4) PLUS CARESTREAM DRX | Purchased | 10 | GE Healthcare | 2020-03-01 | No | yes | See note below | 2020
Queen Elizabeth Hospital Birmingham | Carestream Health | Carestream DRX Revolution DRX1C Plate | Purchased | 6 | Carestream Health | 2024-03-01 | No | yes | See note below | 2024
Queen Elizabeth Hospital Birmingham | GE Healthcare | GE (AMX 4) + | Purchased | 10 | GE Healthcare | 2020-03-01 | No | yes | See note below | 2020
Queen Elizabeth Hospital Birmingham | GE Healthcare | GE (AMX 4) PLUS CARESTREAM DRX | Purchased | 10 | GE Healthcare | 2020-03-01 | No | yes | See note below | 2020
Queen Elizabeth Hospital Birmingham | GE Healthcare | GE Optima XR200 AMX who digital plate | Purchased | 6 | GE Healthcare | 2024-03-01 | No | yes | See note below | 2024