- Please specify which defibrillators you use.

| Manufacturer | Brand/Model | Quantity | How many are manual ALS devices | How many are AED’s |
| --- | --- | --- | --- | --- |
| Philips Medical | Heartstart FR2+ | 82 |  | 82 |
| Philips Medical | Heartstart FR3 | 1 |  | 1 |
| Philips Medical | Heartstart Mrx | 139 | 139 | 139 |
| Philips Medical | Heartstream XL | 9 | 9 | 9 |
| Philips Medical | Heartstart XL | 23 | 23 | 23 |
| Physio Control | Lifepak 15 | 1 | 1 | 1 |
| Physio Control | Lifepak CR Plus | 1 |  | 1 |

- How many devices are over 5 years old? Please specify details below

| Manufacturer | Brand/Model | Quantity | How many are manual ALS devices | How many are AED’s |
| --- | --- | --- | --- | --- |
| Philips Medical | Heartstart FR2+ | 40 |  | 40 |
| Philips Medical | Heartstart Mrx | 107 | 107 | 107 |
| Philips Medical | Heartstream XL | 9 | 9 | 9 |
| Philips Medical | Heartstart XL | 23 | 23 | 23 |

- How many devices are under 5 years old? Please specify Manufacturer Name, Brand/Model, Quantity and if they are manual or AED devices.

| Manufacturer | Brand/Model | Quantity | How many are manual ALS devices | How many are AED’s |
| --- | --- | --- | --- | --- |
| Philips Medical | Heartstart FR2+ | 42 |  | 42 |
| Philips Medical | Heartstart FR3 | 1 |  | 1 |
| Philips Medical | Heartstart Mrx | 32 | 32 | 32 |
| Physio Control | Lifepak 15 | 1 | 1 | 1 |

- When are you planning on replacing devices that are over 5 years old?

| Manufacturer | Brand/Model | Quantity | Replacement plan |
| --- | --- | --- | --- |
| Philips Medical | Heartstart FR2+ | 40 | As and when they fail (reserve defibs available whilst order awaited) |
| Philips Medical | Heartstart Mrx | 107 | Within 5 years of production cessation |
| Philips Medical | Heartstream XL | 9 | Before end 2018 |
| Philips Medical | Heartstart XL | 23 | Before end 2018 |