HOW TO CHANGE A 2 PIECE DRAINABLE FLANGE AND POUCH

You will need

Warm tap water

Wipes

Disposal Bag

New flange

Adapt Seal

Hydro frame

Cohesive paste

# New pouch and soft tie

Adhesive Remover Spray or Wipes .

Skin Protector Wipes

- Ensure your used pouch is empty before changing.

- Remove used flange/pouch by slowly easing the adhesive from your skin using the adhesive remover spray and put used pouch into disposal bag.

- Clean and dry your stoma and surrounding skin with the warm water and wipes.

- Apply skin barrier wipe

- Apply Large adapt seal to protect sore skin

- Remove the paper backing from the new flange and secure to your skin.

- Pipe Cohesive paste to the bottom edge of flange and mould with a wet gloved finger

- Apply your new pouch by pressing the rim into the inner rim of the baseplate. Ensure soft tie is closed